10W Cornbulb

Dimension and available socket

Specification

| Model Number | SL-GU24-10W | Warranty Time | 5years |
| --- | --- | --- | --- |
| Led Source | SMD2835 |  |  |
| Led Quantity | 96PCS |  |  |
| Power | 10W |  |  |
| Luminous | 1150-1250LM |  |  |
| harmonic distortion | <15% |  |  |
| Color Temperature | Warm white | Pure white | Cool white |
|  | 2800-3200K | 4000-4500K | 6000-6500K |
| CRI | 80 |  |  |
| Input Voltage | AC 85-265V 50-60 Hz |  |
| Dimmable | No |  |  |
| Operating Temp | -20°C～45°C |  |  |
| Power Factor | >0.9 |  |  |
| Beam Angle | 360° |  |  |
| Lamp Base | GU24 E27 | GU6.5 PGJ5 | G12 |
| Material | Extruded aluminum heat sink |  |
| Lift Span | 50,000hours |  |  |
| Warranty | 5years |  |  |
| Applications | Indoor lighting |  |  |
| Package | White box/customized |  |
| Product Weight(kg) | 0.12/pc |  |  |
| Carton Size(cm) | 31.9*22.5* 26(L * W * H) |  |
| Qty/Ctn | 50pcs |  |  |
| Gross Weight(Kg) | 7.5kg |  |  |

| Eco-Friendly |  |
| --- | --- |
| ◘ Efficient design that greatly reduces energy usage |
| ◘ RoHs compliant(Free of mercury and lead) construction |
| ◘ Produces no ultraviolet radiation(UV) |
| Design |  |
| ◘ Thick aluminum housing for superior heat dissipation |
| ◘ Utilizes high luminosity SMD LED Chips |
| ◘ Compatible with a standard GU24 bi-pin socket |

Operation

◘Instant turn on time(no flickering)

◘Glare free and even light distribution

◘ LED life is unaffected by frequency of use

Reliability

◘ Long operating life of over 50,000hours

◘ Lasts up to 10 times longer than filament lamps

◘ No wear and tear components unlike standard

fluorescent lighting

Luminous emittance

Installation project