LED SL-PAR 30 Lamp

Specification

| Model Number | SL-PAR 30 | Warranty Time | 5years |
| --- | --- | --- | --- |
| Led Source | SMD |  |  |
| Power and dimension | 7 Watts |  |  |
| Luminous | 790 LM |  |  |
| Harmonic Distortion | <12% |  |  |
| Color Temperature | Warm white | Pure white | Cool white |
|  | 2800-3200K | 4000-4500K | 6000-6500K |
| CRI | 80 |  |  |
| Input Voltage | AC 110 Volts |  |
| Dimmable | No |  |  |
| Operating Temp | -20°C～45°C |  |  |
| Power Factor | >0.96 |  |  |
| Beam Angle | 40° |  |  |
| Lamp Base | E26 |  |  |
| Material | Extruded aluminum heat sink |  |
| Lift Span | 50,000hours |  |  |
| Warranty | 5years |  |  |
| Applications | Indoor lighting |  |  |
| Package | White box/customized |  |